Three phase double wound transformers

| kVA | w | h | d | fw | fd | kg |
| --- | --- | --- | --- | --- | --- | --- |
| 50va | 150 | 150* | 100 | 115 | 50 | 2.2 |
| 150va | 150 | 155* | 110 | 115 | 560 | 4.5 |
| 500va | 180 | 170* | 130 | 115 | 80 | 10.8 |
| 1kva | 270 | 230* | 150 | 150 | 80 | 15.5 |
| 2kva | 270 | 230* | 170 | 150 | 100 | 22.3 |
| 3kva | 300 | 280* | 170 | 150 | 100 | 34.7 |
| 4kva | 300 | 280* | 180 | 150 | 110 | 40.1 |
| 5kva | 300 | 280* | 190 | 150 | 120 | 46.3 |
| 6kva | 300 | 280* | 200 | 150 | 130 | 51.6 |
| 7.5kva | 300 | 280* | 210 | 150 | 140 | 57.9 |
| 10kva | 360 | 400 | 240 | 190 | 120 | 66.9 |
| 15kva | 420 | 450 | 300 | 190 | 150 | 113.6 |
| 20kva | 420 | 450 | 360 | 190 | 170 | 136.4 |
| 25kva | 480 | 500 | 360 | 400 | 190 | 179 |
| 30kva | 480 | 500 | 390 | 400 | 200 | 193 |
| 40kva | 480 | 500 | 450 | 400 | 220 | 223 |
| 45kva | 480 | 500 | 480 | 400 | 245 | 255 |
| 50kva | 600 | 650 | 420 | 400 | 210 | 320 |
| 60kva | 600 | 650 | 450 | 400 | 220 | 350 |
| 75kva | 600 | 650 | 480 | 400 | 230 | 380 |
| 90kva | 600 | 650 | 540 | 400 | 250 | 420 |
| 100kva | 600 | 650 | 600 | 400 | 270 | 465 |
| 150kva | 760 | 750 | 600 | 500 | 290 | 669 |
| 200kva | 820 | 800 | 630 | 500 | 300 | 825 |
| 300kva | 860 | 850 | 690 | 500 | 320 | 1050 |
| 400kva | 940 | 900 | 750 | 500 | 340 | 1290 |
| 500kva | 1240 | 1150 | 630 | 500 | 300 | 1954 |
| 750kva | 1240 | 1150 | 840 | 500 | 370 | 2545 |

Foot Print

Fixing Depth (fd)

Fixing width (fw)	Slot Size (ss)

Height (h)

Height (h)*

stud terminals

screw terminals

Width (w)

Features

Depth (d)

Galvanised mounting frames Minimum Insulation class F 155 C Low temperature rise

High efficiency design

Screw or stud terminals based on VA Colour coded terminal shrouds Engraver stud terminal board  Varnish  impregnated

100% tested

12  month  warranty Manufactured to requirements of BS EN  60742

BS171 and BS EN 601558